# 18U ENCLOSURE 19" CABINET 600X800 FLOOR STANDING DATA RACK - ECO NETCAB

##### DESCRIPTION

##### Redefining quality ergonomics for your telco, networking & PBX needsCost-effective and quality enclosures for your structured cabling,networking and broadcast projects.The LMS Data EcoNetCab is the de-facto standard in offering great choiceand quality enclosure solutions, be it structured cabling for your copper orfibre networking, LAN or WAN networking deployment or broadcastA/V for companies of all sizes.Designed for the installer and IT manager, all enclosures come with usefulfeatures to make your installation that much easier, together with bundled free accessories mean you’ve got everything you need to get your new installation upan running, with minimal fuss or downtime.

##### SPECIFICATIONS

18U high 600W 800D
ETSI 19” front/rear profiles (adjustable)
Removable side/rear panels, RAL 9005
Front tempered glass door (lockable)

**TECHNICAL INFO**

 SKU/MPN: CAB-FE-18U-68

EAN: 8400800015921

Weight: 50kg

Dimensions:  600(width) x 800(depth) x 980mm(height)

**FILES**

[Datasheet - CAB-FE-18U-68](https://cdn.shopify.com/s/files/1/0071/2337/0043/files/LMS_Data_EcoNetCab_General_Enclosures_v1_0.pdf?v=1583409209)